## GRUPA 2 CT
HRVATSKA AGENCIJA ZA POLJOPRIVREDU I HRANU
PREDMET:NABAVA SPECIFIČNIH KEMIKALIJA
EVID.BROJ:NVV 05-2019
GRUPA 1. CENTAR ZA TLO
RED.BR. | NAZIV, OPIS I TRAŽENE KARAKTERISTIKE |  | JEDINICA MJERE (PAKIRANJE) |  | TRAŽENI PROIZVOĐAČ | PONUĐENI PROIZVOĐAČ | KOLIČINA | JEDINIČNA CIJENA BEZ PDV-a | UKUPNA CIJENA BEZ PDV-a
1 | Amonij -dihidrogenfosfat (99,99) | suprapur | 50 | g |  |  | 1 |  | 0
2 | Indikator- Brom krezol zeleno | ACS, Reag. Ph Eur | 1 | g | Merck / Sigma Aldrich |  | 1 |  | 0
3 | Indikator-2,4-dinitro fenol | moistened with water, ≥98.0% | 5 | g | Merck / Sigma Aldrich |  | 1 |  | 0
4 | Indikator-Fenolftalein | ACS, Reag. Ph Eur | 5 | g | Merck |  | 1 |  | 0
5 | Indikator-Metil rot | ACS reagent | 25 | g | Merck |  | 1 |  | 0
6 | Kalcij-karbonat (min. 99%) | p.a. | 100 | g | Merck / Sigma Aldrich |  | 1 |  | 0
7 | Lantan(III)-oksid modifikator | za AAS, ≥99.9% | 250 | g |  |  | 1 |  | 0
8 | Lantan-nitrat-heksahidrat (99.999%) | p.a. | 100 | g |  |  | 1 |  | 0
9 | Modifikator -Magnezij Matrix | za grafitnu tehniku AAS c(Mg) = 10.0 ± 0.2 g/l (Mg(NO₃)₂ * 6 H₂O in HNO₃ ca. 17%) | 50 | ml |  |  | 1 |  | 0
10 | Modifikator -Paladij Matrix | za grafitnu tehniku AAS c(Pd) = 10.0 ± 0.2 g/l (Pd(NO₃)₂ / HNO₃ ca. 15%) | 50 | ml |  |  | 1 |  | 0
11 | Natrij-bor-hidrid | prah, ≥98.0% | 25 | g |  |  | 1 |  | 0
12 | Pufer otopina pH = 4.00, referentni standard | sekundarni standard; ostvarena sljedivost prema NIST SRM i PTB pH 4.00 (20 °C), Merck | 1000 | ml | Merck |  | 3 |  | 0
13 | Pufer otopina pH = 6.86, certificirani referentni standard | certificirani standard; ostvarena sljedivost prema NIST SRM i PTB pH 6,86 (25 °C), Merck | 5x100 | ml | Merck |  | 3 |  | 0
14 | Pufer otopina pH = 7.00, referentni standard | sekundarni standard; ostvarena sljedivost prema NIST SRM i PTB pH 7.00 (20 °C), Merck | 1000 | ml | Merck |  | 3 |  | 0
15 | Pufer otopina pH = 9.00 | sekundarni standard; ostvarena sljedivost prema NIST SRM i PTB pH 9.00 (20 °C), Merck | 1000 | ml | Merck |  | 3 |  | 0
16 | Standard Ag | ostvarena sljedivost prema NIST SRM AgNO₃ in HNO₃ 0.5 mol/l 1000 mg/l Ag Certipur | 100 | ml |  |  | 1 |  | 0
17 | Standard Al | ostvarena sljedivost prema NIST SRM Al(NO₃)₃ in HNO₃ 0.5 mol/l 1000 mg/l Al Certipur® | 100 | ml |  |  | 1 |  | 0
18 | Standard As | ostvarena sljedivost prema NIST SRM H₃AsO₄ in HNO₃ 0.5 mol/l 1000 mg/l As Certipur® | 100 | ml |  |  | 1 |  | 0
19 | Standard B | ostvarena sljedivost prema NIST SRM H₃BO₃ in H₂O 1000 mg/l B Certipur® | 500 | ml |  |  | 2 |  | 0
20 | Standard Ca | ostvarena sljedivost prema NIST SRM Ca(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Ca Certipur® | 500 | ml |  |  | 3 |  | 0
21 | Standard Cd | ostvarena sljedivost prema NIST SRM Cd(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Cd Certipur® | 100 | ml |  |  | 1 |  | 0
22 | Standard Co | ostvarena sljedivost prema NIST SRM Co(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Co Certipur® | 100 | ml |  |  | 1 |  | 0
23 | Standard Cr | ostvarena sljedivost prema NIST SRM Cr(NO₃)₃ in HNO₃ 0.5 mol/l 1000 mg/l Cr Certipur® | 100 | ml |  |  | 1 |  | 0
24 | Standard Cu | ostvarena sljedivost prema NIST SRM Cu(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Cu Certipur® | 100 | ml |  |  | 1 |  | 0
25 | Standard Fe | ostvarena sljedivost prema NIST SRM Fe(NO₃)₃ in HNO₃ 0.5 mol/l 1000 mg/l Fe Certipur® | 100 | ml |  |  | 1 |  | 0
26 | Standard Hg | ostvarena sljedivost prema NIST SRM Hg(NO₃)₂ in HNO₃ 2 mol/l 1000 mg/l Hg Certipur® | 100 | ml |  |  | 1 |  | 0
27 | Standard ICP-multi- Cd,Cu,Mg,Pb,Rh | 5 elements in dilute nitric acid | 100 | ml |  |  | 1 |  | 0
28 | Standard K | ostvarena sljedivost prema NIST SRM KNO₃ in HNO₃ 0.5 mol/l 1000 mg/l K Certipur® | 500 | ml | Merck |  | 2 |  | 0
29 | Standard Mg | ostvarena sljedivost prema NIST SRM Mg(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Mg Certipur® | 500 | ml |  |  | 3 |  | 0
30 | Standard Mn | ostvarena sljedivost prema NIST SRM Mn(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Mn Certipur® | 100 | ml |  |  | 1 |  | 0
31 | Standard Mo | ostvarena sljedivost prema NIST SRM (NH₄)₆Mo₇O₂₄ in H₂O 1000 mg/I Mo Certipur® | 100 | ml |  |  | 1 |  | 0
32 | Standard Na | ostvarena sljedivost prema NIST SRM NaNO₃ in HNO₃ 0.5 mol/l 1000 mg/l Na Certipur® | 500 | ml |  |  | 2 |  | 0
33 | Standard Ni | ostvarena sljedivost prema NIST SRM Ni(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Ni Certipur® | 100 | ml |  |  | 1 |  | 0
34 | Standard Pb | ostvarena sljedivost prema NIST SRM Pb(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Pb Certipur® | 100 | ml |  |  | 1 |  | 0
35 | Standard Se | ostvarena sljedivost prema NIST SRM SeO₂ in HNO₃ 0.5 mol/l 1000 mg/l Se Certipur® | 100 | ml |  |  | 1 |  | 0
36 | Standard Si | ostvarena sljedivost prema NIST SRM acidic, (NH₄)₂SiF₆ in H₂O 1000 mg/l Si Certipur® | 100 | ml |  |  | 1 |  | 0
37 | Standard Sn | ostvarena sljedivost prema NIST SRM SnCl₄ in HCl 2 mol/l 1000 mg/l Sn Certipur® | 100 | ml |  |  | 1 |  | 0
38 | Standard Sr | ostvarena sljedivost prema NIST SRM Sr(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Sr Certipur® | 100 | ml |  |  | 1 |  | 0
39 | Standard Zn | ostvarena sljedivost prema NIST SRM Zn(NO₃)₂ in HNO₃ 0.5 mol/l 1000 mg/l Zn Certipur® | 100 | ml |  |  | 1 |  | 0
40 | Standard multi element XXI-set (Hg i 30 elem.) | (30 elements in diluted nitric acid, Hg seperately) 10 mg/l: Ag, Al, As, Ba, Be, Bi, Ca, Cd, Co, Cr, Cs, Cu, Fe, Ga, Hg, In, K, Li, Mg, Mn, Na, Ni, Pb, Rb, Se, Sr, Tl, V, U, Zn Certipur® | 1 | set |  |  | 1 |  | 0
41 | Standard za konduktometar -1.413mS | certificirani sekundarni referentni materijal (NIST) za mjerenje električnog konduktiviteta | 500 | ml |  |  | 1 |  | 0
42 | Standard za konduktometar -12.88mS | certificirani sekundarni referentni materijal (NIST) za mjerenje električnog konduktiviteta | 500 | ml |  |  | 1 |  | 0
43 | Otopina za čišćenje elektrode od taloga tla i naslaga humusa |  | 500 | mL |  |  | 1 |  | 0
[7 empty] | UKUPNO BEZ PDV-a |  | 0
PDV
[7 empty] | UKUPNO S PDV-om |  | 0
Napomena: žutom bojom obilježene kemikalije i indikatori koriste se u akreditiranim metodama